## Master
Paper | Definition | Purpose of DT | Framework | Technology | Concerns
1 | Microgrid aggregates local DERs and loads within a defined boundary to form a controllable mini-grid. It can operate independently in island mode or connect with the main grid. It focus on resilience and local energy autonomy This paper provided a number of DER defintions from reputable source. To conclude, Distributed Energy Resources (DERs) are small scale resources or subsystems such as solar photovoltaic, electric vehicles, storage, load or demand response, that are located on the distribution sysem or behind a customer meter. They operate outside the bulk system and can generate,store or export power to support the main grid. (IEEE, 2018; Distributed energy resources, 2017; FERC, 2020; Innovation landscape for a renewable-powered future, 2019; Jaime et al., 2023) | n/a | n/a | n/a | n/a
2 | Microgrid are “self-sufficient, localized grids seamlessly integrate diverse distributed energy resources, including renewables, energy storage, and advanced control systems, fostering both resilience and sustainability” | Prediction and optimisation of renewable energy sources and storage within building’s electrical and cooling systems for sustainable power control | Model layer: (prediction > optimization > simulation): (1) Deep Learning to predict future load demand (2) energy optimisation using mathematical optimisation solver (3) Digital Twin simulation | Recurrent Neural Networks (RNNs): Long Short-Term Memory (LSTM) for HVAC load prediction | Requires live data streams from a physical microgrid feeding into the DT
3 | Microgrid is a power system made up of distributed power resources, energy storage systems, loads, monitoring and protection devices, and other equipment, relying on renewable energy. It has bidirectional electricity and informaiton flow, working wither independently or connect to the maingrid. It consist two system: Power system - primary equipment of the traditional power system and various distributed power resources, energy storage devices, controllers Information system - intelligent power management equipment, communication network equipment, etc. Smartgrid is a broader system that integrate ICT into the grid. It allows adaptive energy generation, distribution and consumption DER are distributed power units such as photovoltaic, wind turbines, battery storage integrated into microgrid. | Opportunistic maintenance optimization in renewable-based microgrids using risk measures, to reduce costs and improving grid reliability. | Four-layer architecture: Perception layer (bottom layer): Contain sensors and devices that collect data such as equipment state, environmental data,etc Data layer: Collection, transmission, and storage of collected data; transform collected data into digital twin data Model (core) layer: Provide a mirror model of the physical grid. Use real-time and historical data to run different simulations, and feedback to operation and control commands to guide preventive and targeted operation and maintenance decisions. Application layer: Take the results from the model layer and provide feedback function (such as emergency response, operational optimization,etc) to human actor. -> closed loop feedback | Fault Tree Analysis (FTA) to model failure under model layer | (1) High-dimensional and multi-source data is difficult to process because heterogeneous device, environment and scale (2) Sensor data transmission issue would reduce DT's reliability as the twin depends on live sensor data
4 | Microgrid is a energy system that integrate DER, energy storage and load , which can be work in an island mode. It has a nonlinear stochastic and multi-scale dynamic due to the characteristic of DER and storage devices. Smartgrid is an advanced infrastructure integrating energy measurement, intelligent control and fast communication, forming a two way interaction in energy, information and business flow DER are localised distributed energy source such as renewable generation, storage system and devices. These resources are characterized by randomness, intermittency, and fluctuation | Overarching DT Microgrid 3-layer architecture (1) physical system (Perception Layer) : manage real word microgrid equipment, use sensors for data collection and transmission (2) information hub (Data + Model Layer) Data layer: process, integrateand store multi source heterogenous data using DBMS and big data technologies System layer (Model Layer): uses real-time + historical data to create digital replicas of equipment and systems, run multi-scale simulations, and feeds operating control commands back to the physical system. (3) application scenario (Application Layer): online application services that use AI and algorithms to close the loop and optimize real-world operation. |  | Big data techniques to process heterogenous data collected Deep Learning for Renewable energy power generation prediction of PV and wind power Real-Time Digital Simulator (RTDS) for microgrid mirroring, it is a simulation system to replicate electromagnetic transient processes in power systems using parallel computing and digital simulation technologies. Communication from sensors: 5G, Beidou satellite, wireless networks, microwave transmission GTNET:network communication card for RTDS (run a variety of mainstream communication protocols for power systems including PMU, GOOSE, SV, 104, Modbus) | n/a
|  | Simulate and optimize entire microgrid system operation in (1) power prediction, (2)optimal operation, (3) prevention and emergency control (stability and security response) , and (4) intelligent maintenance. | Grid-Level DT (RTDS-based) Modelling framework (1) physical system (Perception layer) : Real world microgrid physical components (DERs, sensors, communication lines) responsible for data acquisition (2) simulation system (model layer): RTDS mirrors the physical grid by taking real time data(including from DER-level DT), and verify optimization/control strategies before they are applied to the actual system. Continuous synchronise with physical grid through UEMS (3) upgraded energy management system (Data layer + application layer): Mediates between physical and digital systems for data monitoring, parameter correction, storage, and advanced applications
|  | Equipment maintenance and lifecycle management of microgrid power equipment | Equipment Level DT framework: (1) equipment status information acquisition (perception layer + data layer): Using historial data of microsystem and integrate with real time data (including environmental data )to optimise sensor layout (2) model establishment (model layer): Build equipment health and risk evaluation models through empirical testings, and statistical methods such as Random Matrix Theory (3) intelligent operation and maintenance module (application layer): Provides real-time fault warnings, reliability assessments, and maintenance/retirement decisions to support efficient equipment lifecycle management.
5 | Smart grid is defined as "an electric system that uses information, two-way, cyber-secure communication technologies, and computational intelligence in an integrated fashion across electricity generation, transmission, substations, distribution, and consumption to achieve a system that is clean, safe, secure, reliable, resilient, efficient, and sustainable”. It connect conventional power system that improve renewable energy sources (RES) and reduce the pressure on the power grid. It offers a two-way scheme that enables exchanges between energy and information. Microgrid is a localised and small scalre grid connected to wider smart grid, integrate renewable energy generation such as PV. It operate semi-independently to support the stability of the overall system | Integrating Blockchain in IoT for smart grid monitoring. | (Not DT Microgrid) Conceptual blockchain-integrated smart grid framework: (1) IoT devices are linked with smart grid components (such as renewable energy, load control and distribution management) in IoT Based platform for data collection and monitoring. (2) Big data/ information platform for data records, security and removing 3rd party (3) Blockchain enables P2P energy trading, EV trading, secure energy generation/distribution, improving decentralization, trust, privacy, and resilience. | Blockchain for secure and decentralised data record, allow peer to peer trading and privacy protecction Machine Learning (Q-learning and Random Forest) for abnormal data detection | (1) Heterogeneous Data fusion as data (meter data, grid temperature data, power consumption data, etc) comes in heterogeneous format and need to be unified (2) Grid data Handling as grid data are valuable information sources but require effective processing method (3) Grid data Storage as secure, reliable, and scalable storage are needed for large volumes of smart grid data
6 | Smart grid is a modernized electrical grid that uses ICT to improve the efficiency, reliability, and economics performance of electricity generation, transmission and distribution Microgrid (MG) is a localised, small-scale power system operating at low to medium voltage levels, integrating local distributed generator(DG), energy storage systems, and local loads together to form a small-scale power system. It is considered as the fundamental building bloack of smart grid. Distributed generators (DG) are localized power generation units producing renewable energy sources such as PV, wind and fuel cells. They form the primary energy supply for a microgrid and are interfacted to the grid through inverters. | n/a | (not DT Microgrid) Microgrid has 3 control schemes: (1) Centralized control: “limited communication capability among the subsystems (Distributed Generators, loads, storage) as well as limited computation ability in one single controller” (2) Decentralized control: too isolated, no interaction between other controllers (3) Distributed control: Author suggests this approach for microgrid | n/a | (1) Limited communication&computation capacity in centralized microgrid -> (Erica's comment) DT could suffer from delayed, incomplete, or inaccurate synchronization. (2) Challenge in seamlessly adapting to newly added or removed DERs without complete reconfiguration -> (Erica's comment) DT may face difficulties in maintaining an up-to-date virtual model, reducing flexibility and scalability.
7 | Smart grid integrate digital technologies (such as Digital Twin and IoT) and traditional power grid to monitor and manage the transmission of all electrical resources Distributed Generation (DG) refers to electricity production from small-scale generators located close to the point of consumption, often using renewable energy sources. It contrasts with centralised generation by being more efficient in serving local and remote energy needs, as well as reduced network loss and construction time. | Increase energy efficiency and prevent energy crisis through smarter consumption patterns. | n/a (This paper capture the relationship between rising energy consumption and energy crisis, as well as the relationship between using digital twin for monitoring and crisis prevention. No framwork for DT is mentioned) | n/a | (1) Data quality and availability: due to complex system and lack of standardisation in data collection and management (2) Integration with legacy systems: most existing infrasuructure is not compaible with digital twin (3) Cybersecurity: cyber attack can cause significant damage, investing in cybersecurity measures is necessary (4) Regulatory compliance: Regulatory compliance, violation cost high penalty (5) High Cost for implementing DT: Building and maintaning DT (infrastructure, data processing) is expensive especially for smaller companies
8 | Traditional Grid is a centralised power system providing energy for large-scale distribution area with one-way transmission using distribution line. It has high distribution loss and is vulnerable to outage. Microgrid works as a controll entity of a grid that eliminate the complexity of DER, integrates a number of distributed power grids in a systematic way, work in either island mode or grid-connected. Standalone grid is a type of microgrid that run entirely independent from the main grid. It in unable to connect to a larger power network. Smart grid is a ICT enabled energy network that is used to group many grid (such as microgrid, DER or VPP) and manage them. It is able to analyse the system and advice the operator with necessary action. It is capable of self-awareness, self-optimisatiom and self-customerisation in power grid component to function autonomously. Virtual Power Plant is a cloud based plant where it integrate multiple power resources such as microgrid, solar or battery storage as one single power plant for marketing purpose. It relies on software systems for integration, dispatching, and storage management. | Unify consumers and prosumers on a single cloud platform Demand-side management, reducing transmission losses, and minimizing power outages through real-time analysis, optimization, and secure control. | Data + Model Layer: (1) Online Analysis Digital Twin (OADT): Uses SCADA + state estimation (SE) for real time data collection and transformation from the physical grid. It mirror the real time physical grid and performs continuous analysis and dynamic security assessment (DSA) to detect anomalies, assess grid health (4) Automatic network guardian for electrical (ANGEL) system: Security + monitoring system using ML/DL, provides self-healing and predictive control Communication Layer: (3) Communication: Communication network management system work as a central data acquisition board, collecting and gathering data in real time. It connects various sensing nodes (via wired/wireless networks) and uses communication protocols to transmit data securely to upper layers of the DT system. Application Layer (2) Cloud Platform: real time whole grid status monitoring and analysis. Allowing both production-side and demand-side energy management, gives each consumer access to their own energy usage data, and supports control center operations for decision-making and fault prevention (5) Existing DT Application Frameworks for grid: Cloud-based Cyber–Physical Systems (C2PS); Building Information Modelling (BIM) + data mining; Security Layer (6) Security Framework: separated into physical, virtual, and decision-making layers and use cloud hubs and control centers to secure critical infrastructures | Machine Learning (ML) on real time data for fault detection and predictive analytics Data Mining in extracting insight from large amount of grid data Communication Protocols:MQTT, OPC, MMS (IEC61850), GOOSE OADT to mirror physical grid | Data transmission and communication: massive data transmission, high storage overhead cost, high rate of recurrence to maintain accurate mirroring of physical grid Security: prime cyberattack target as DT contains large amount of sensitive and confidential data, could lead to severe consequences (large scale outage or national level economic damage) if breached Data fusion and integration: Challenges in maintaining consistency, accuracy and performance when integrating real-time sensor data, historical records, and various heterogeneous data types in a scalable way. Latency and feedback delay: fast reaction time to support decision making and real time control require handling complex computation and fast data processing
9 | DER are decentralised, small-scale assets such as solar photovoltaic panels, wind turbines, energy storage system, and responsive loads, typically located at the grid edge. They contribute to electricity generation, storage, and demand response Microgrid is a localised energy system that combines DER to operate either in connection with the main grid or independently. Smartgrid is advanced electricity network that integrates both renewable and non-renewable energy sources with digital technologies such as IoT, AI and digital twin | Grid reliability improvements Energy storage optimisation Power transformer monitoring Wind farm optimisation Smart grid management Energy management and energy economics Fault (in the converters, sensors & PV panels) diagnosis Security against cyber-attacks | Methodology for different applications, including: (1) Grid reliability improvements: apply Online Analysis Digital Twin (OADT), (2) Power transformer monitoring: apply mirroring and deep learning to analyse real-time data for faults detection and remaining lifespan prediction (3) Smart Grid management: computing and reinforcement learning to optimise demand response and load balancing | ML for predicting dynamic grid behaviour and DER status AR/VR training programs for grid operators workfoorce training Edge computing to handle large data volumes in urban grids Blockchain for blockchained-based authentication for securing energy data flows and protects against cyberattacks in bidirectional energy exchanges | Heterogeneous data integration Interoperability with legacy systems: Tradition grid/system are not designed to support digitalisation in DT. Integrated blockchain with existing system increase costs for upgrade in legacy grid Lack of standardisation in policies, grid codes, and industry guidelines for DT AI require high quality data which could affect prediction accuracy in renewable integration Latency in edge computing: achieveing grid stability need ultra low latency needs
10 | DER are renewables and other small-scale distributed assets (solar, wind, storage, EVs) operating at the edge of the grid. | Four domain application: (1) Energy Asset Model : - smart city energy management - energy demand management (2) Fault Model - fault (grid component, battery or drivetrains in offshore wind turbines) detection and diagnosis - predictive maintenance - energy service disruption detection and prevention (3) Grid Operation and control - energy resources usage and distribution optimisation (4) Business Model - customer profiling (customer preferences, satisfaction, and behavior) - customer engagement and awareness | DT Smart grid architecture steps: (1) creation of the DT model using actual measurements such as such as active or reactive power, frequency, current, energy flexibility from energy assets. (2) Integration of the DT model with the physical assets using energy sensors and actuators. The IoT sensors will be used to acquire various information regarding the energy assets operation while the actuators (3) data-driven analytic using big data analytics and ML (4) Optimization and Control by feeding insights from analytics to model based predictive control | Machine Learning on load forecast, pattern detection, prosumer energy demand/ generation prediction, performance assessment, edge warning detection Blockchain for simulation-based prediction and operational control improvement Neutral Network to analyse power grid behaviour under critical event Big data analytics on customer-related data (preferences, satisfaction, behavior) for awareness and engagement | Data-Related Challenges (1) Data Volume: Efficient storage and analysis in huge amount of data (2) Data Velocity: high speed data generation and transmittion (3) Data Variety: integrating heterogeneous data sources (4) Data Quality: errors and unreliable acquisition processes in DT models. DT for renewable energy sources: (1) Renewables (solar panels, wind turbines) need continuous, independent monitoring to ensure DT accurately reflects their real-time state (2) Time and scale granularity (3) Fluctuations and unpredictability in renewable energy generation (solar depends on sunlight)
11 | DERs are small-scale, often renewable energy resources (solar, wind, biomass) and storage devices located near consumers, providing local generation but include variability due to its intermittent nature | simulate DER adoption in distribution grids to identify risks of overload and congestion to support grid reinforcements planning and DER management | Agent-Based Simulation (ABS) structured with four modular components (1) Distributed Energy Resources (DERs): model DER (PV, EV and stationary batteries) as agents with behaviours such as generation. This module captures the operation of DER and their connection to the wider system, each DER don’t communicate with each other. (2) Electricity Distribution Grid: stores and processes grid topology (data from DSO spreadsheets*) and models how electricity flows through physical infrastructure (distribution grid transformers, cables, cable boxes, consumer connection points), it build the model, tracks power flows and highlights overloads during simulation. -> (data +model layer) (3) Energy Management System (EMS) : control DER operation in response to predefined strategies. it communicates between consumer needs, DER capabilities, and grid conditions.-> (model + communication layer) (4) Electricity Consumers: represents residential users with their load profile -> (application layer) *the framework currently uses historical datasets and DSO spreadsheets, no live data streamed from physical grid | Agent-Based Simulation (ABS) | Scalability as most DT focus on individual DER component Computational requirement on simulation experiments with long timeframes
12 | Microgrids are small-scale, self-sustaining energy systems operating locally, integrating local generation, storage, and loads. Smartgrids are modern electricity grid integrating DERs and uses digital technologies such as IoT, AI, DT, edge computing. It support two-way electricity distribution and connect both consumers and prosumers for real time response to electricity demand. DER are decentralised energy assets such as solar PV, wind turbines, stationary batteries and loads connected at the grid edge and is capable of energy generation, storage or demand response. | Asset monitoring and predictive maintenance to minimises downtime and extends the lifespan of energy assets Energy forecasting and storge optimisation to enhance grid stability and also reduce energy costs and waste for Carbon Footprint Reduction Real-Time Data and Analytics for Regulatory Compliance monitoring and reporting Wind farm performance optimisation Grid Management and Automation Battery Storage system Integration | DT framework is discussed conceptually, but not in full detail (1) Digital Twins integrate with Edge Computing: Devices at the grid edge (e.g., smart meters, DERs, IoT) should process data locally using edge computing to meet low-latency and bandwidth constraints in low-voltage networks. (2) Federated DT and integrate with Data Space: multiple DTs for local contexts should interoperate and link with the European Energy Data Space for cross sector integration and data sharing | AI: - to detect pattern from processing huge amount of data for compliance risk prediction - Facilitating Peer-to-Peer Energy Trading by analyse energy consumption data, assess equipment performance, and suggest optimizations. - Analyse data annd predict efficient discharge and charge cycles Edge AI: AI Analytics to Handling vast volume of data from Distributed Energy Systems Blockchain for peer to peer energy trading (automated energy transaction among consumers and prosumers) within decentralised energy system Machine Learning for Predictive Analytics | Performance, scalability, and security of Digital Twin are less mature Lack of Digital Twin deployment framework for smaller operators -> current DT deploment are siloed -> Lack of interoperability standard (behaviour, policy, technical etc) across different DT systems in ferderal level Heterogeneous data integration and synchronisation: DT rely on accurate, real-time data, but ensuring consistency and interoperability across heterogeneous sources is difficult Over-collection and unclear data value: DT risk collecting excessive amounts of data without knowing which data is most useful, leading to inefficiency and higher costs Regulatory in Data privacy and security: data must be protected (GDPR compliance) and used with consent only
13 | DER are renewable resources such as PV cell, micro wind turbines, energy storage, biomass distributing across the system at distribution level. Microgrid is a local power system where DER operate and can be connected to the grid or islanded. | Enhance visibility of DERs in microgrids | This paper is about finding the minimum data reporting rate of live data from DER to ensure DT accuracy. The live data of focus is grid frequency measured by Phasor Measurement Units (PMUs), which is used by the DT to calculate the DER’s active power output. The DT performance is evaluated against three critical Virtual Synchronous Machine (VSM) response parameters: droop power, inertial power, and damping power. It showed that DT accuracy decrease when reporting rate is too low, due to DT discretize continuousgrid frequency signals. This paper suggested applying Zero-Order Hold (ZOH) discretization as it can improves accuracy even at lower reporting rates. It also proposed two methods to estimate the minimum reporting rate for stable and accurate DT: (1) physical-based method (using model knowledge) and (2) data-driven method (for black-box systems) |  | Low reporting rate causes inaccuracy and error in DT performance High cost in installation of high resolution DER measurement units and corresponding communication network Challenge in realtime data exchange between DERs and controllers due to bandwidth and time delay restrictions
14 | DER are assets such as controllable consumption devices, on-site generation, and energy storage within a power system located at distribution level. It control automation through IoT but is vulnerable to cyberattack | Reducing energy costs for prosumers from buying power from the market, create new market opportunities for DER operators and improve power supply quality and stability | The typical power system DT consists of models of the following kinds (Andryushkevich et al, 2019): (1) ontology model (sementic/data layer) Provides the semantic foundation for the DT to ensure data consistency and eliminate ambiguity in the naming and interpretation that the DT operates with (2) digital diagrams and maps (visulaisation/ application layer) Represent the structural and visual aspect of the power system. (3) electronic documentation (data layer) (4) information model (data layer) The central structured database of the DT, store data, parameters, etc and provides information to other models. Maintains coherence between heterogeneous sources. (5) real-time data (perception layer) Collects sensor measurements (6) mathematical and simulation models (model layer) Model and simulation DT by using following models: - “first-principles” physical and/or economical models based on the numerical solution of equations and optimization problems; - statistical models based on machine learning (ML), including neural networks; - expert knowledge and decision-making models, such as rule-based and multi-agent systems. It then suggest adding layers on top of DT to make it accessible to operator, prosumers etc, as an end user digital product, instead of just simulation the physical state. - DT (Core of the platform, integrating heterogeneous model and simulate, predict and optimse DER behaviour) - IoT subsystem (real time data collection from DER), - Intelligent control subsystem (AI/ML decision-making), - Transactive energy subsystem (smart contracts for P2P energy trading), - Monitoring & diagnostics (track the state of DER assets and grid equipment) - electronic document management (EDM) subsystem (Stores and handles documentation relevant to DER operation) - Information security (Protects the DT and platform from cyberattacks) - User interfaces and services (make platform usable by operators, prosumers) | ML for energy load/generation/price forecasting, economic dispatch, power machine health assessment and prediction | High cost for implementation as it requires many heterogeneous models Heterogeneity in models with data complexity : “horizontally” (different asset parts) and “vertically” (different concerns/viewpoints) -> integration is difficult Prompt simulation requirement: the challenge of reproduce complex, multi-step power supply processes quickly enough to stay synchronized with the real system Semantic consistency: requires ontologies to avoid ambiguity in data
E1 | Microgrids are composite system containing multiple two-way interconnected systems such as Distributed Energy Resources (DERs), Energy Storage Systems (ESSs), flexible loads (as electric vehicles), fixed loads, power electronics converters, transformers, cables, etc. The two way electric flow allow consumers to feed their energy to support local consumption or to the grid, turning them into prosumers. | Cyberattack detection, mitigation, and system recovery | 3 layers: (1) Physical Layer: Real-world DC microgrids: DERs, converters, ESS, flexible loads. (2) Edge Control Layer - distributed controllers: balances power within the cluster of microgrids. - tertiary controller: manages whether the whole cluster (contains multiple microgrids) imports or exports power to the main grid (3) Digital Twin Layer - IoT Shadow: JSON-based virtual representations of each device’s state (both reported and desired), managed via AWS IoT Core - DT models (mathematics model to simulate) i. Physical Twin: model power dynamics of DC networked microgrids; regulate microgrid voltages and power-sharing. ii. Cyber Twin: Models the distributed consensus control among secondary controllers using graph-based protocols iii. Hybrid Twin: Integrates both physical and cyber models to detect mismatches and assess cyber-physical consistency Application - Luenberger Observer (LO): Estimates healthy system states based on DT models and compares them with IoT shadow data to detect anomalies or potential cyberattacks - AuthAudit (Algorithm 2): Sorts and identifies which agents/sensors are likely under attack by measuring & normalise residuals - DT updates IoT Shadow with corrected desire state from Luenberger Observer results - Edge devices receive correct commend from IoT shadow to recover system | Cloud Platform (AWS) to host the Digital Twin layer: - IoT Shadow (AWS IoT Core): real-time digital replicas of device states - AWS SageMaker to Hosts and runs the Digital Twin models (physical, cyber, hybrid), what-if simulations and LO - Serverless computing (AWS Lambda) to execute security audits (Authaudit) Communication: - Data Distribution Service (DDS) - fast communication between edge controllers (within microgrid clusters) - MQTT - low-latency communication between edge devices and the cloud (IoT Core) IoT devices | Short communication delay between edge and cloud can affect DT's ability to maintain system stability Mathematical models such as LO need careful tuning, otherwise may miss attacks or create false alarm
E2 | IOE "an infrastructure organized as a decentralized network of direct transactional energy, information and economic interaction, functioning on principles that are similar to the global computer network Internet. The Internet of energy infrastructure has the form of a network of cells encapsulating the functions of generation, consumption, and storage of energy resources" | Optimize Energy Supply (generation & storage) at the Prosumer/Microgrid Level in terms of economic(cost), electric quality and environmental (carbon emission) | DT framework consists of 6 components: (1) Ontological Model (Data layer) - Provides the semantic backbone to ensure all data across maps, models, and simulations are consistent. - Defines entities (loads, generators, storage, meters, etc.), their properties, and relationships. - sementic integration to ensure data from meters, models, and optimization tools are consistent, interpretable, and automatically connected - How it works:Maintained using the Nrjpack + CQRS tool, then exports data in OWL (Ontology Web Language). (2) Digital Schemes & Maps (Data layer) - digital diagrams and maps (single-line diagrams, structural maps) contextualize and visualize how components connect (3)Electronic Documentation (Data layer) - Information basis of the DT, stores metadata and formal records about the system. (4) Information Models (Master Data) (Data layer) - The data backbone that stores static information about devices, loads, and configurations. - Populated through the ontology, exported in Ontology Web Language (OWL) for interoperability. (5) Real-Time Data (Perception layer) - Provides dynamic input from smart meters, sensors, or external services (like weather). - Used for calibration, load disaggregation, and feeding real-time scenarios into the modelling layer HOMER Pro. (6)Mathematical & Simulation Models (Modelling + Application Layer) - The computational engine, three main components: (i) optimization (HOMER Pro): Optimizes the configuration of the Hybrid Renewable Energy System (HRES) based on economic, electrical, and environmental criteria. (ii) dynamic simulation (Matlab Simulink): Dynamically simulates the optimized HRES under different load and weather conditions, including interactions with the central grid. (iii) linking scripts (Python/Matlab): Automate the transfer of data between ontology, HOMER Pro, and Simulink (e.g., generating load profiles, re-configuring the Simulink model) - Tests scenarios application such as: HRES operation (optimise and simulate configuration) , load shifting, and grid interactions (buying power when renewable is insufficient, selling excess back) How the framework works: (1) The ontology structures data into OWL/XML format. (2) script processes OWL data to generate hourly consumption profiles for each device before feeding into HOMER Pro. (3) HOMER Pro finds optimal HRES configuration (number of pv panels, battery, etc) → results exported. (4) Scripts automatically configure the Matlab Simulink model based on HOMER results. (5) Simulink dynamically simulates system performance (device profiles, grid interaction). (6) Outputs provide insights for design, operation, and optimization. So, the framework connects information representation (ontology + models) with decision-making (optimization) and validation (simulation). | Authors build a custom-built DT infomation management tool : - Is based on Nrjpack (metamodel product). - Uses CQRS architecture (to separate queries/commands). - Exports ontology-based information in OWL/XML for integration with optimization and simulation models Technologies: Ontological Modeling Language (OWL) - for sementic consistency and interoperability Nrjpack-based Software Tool' - custom tool to maintain information models and digital twin components. Built on a metamodel, enabling automatic generation of user interfaces, databases, and data export Command Query Responsibility Segregation (CQRS) architecture - Applied in the software tool to separate queries (reads) and commands (updates). Improves flexibility and scalability of DT data management HOMER PRO - commercial software product for optimization of hybrid renewable energy systems (HRES) Matlab Simulink - Simulates the microgrid/ HERS’s operation under different load and weather scenarios Python & Matlab Scripts - process OWL/XML data (from ontology) → generate load profiles → feed into HOMER Pro → adjust Simulink model automatically | Lack of standardized, reliable, machine-readable data. Existing models focus on large facilities, not prosumer/microgrids.
E3 | "The microgrid is a self-reliant energy system described as a set of distributed energy resources and connected loads. The microgrid is a controllable asset relating to the grid that can function in island mode or grid-connected mode" | 1. Forecasting (such as load growth prediction, system response forecasting) -> long time planning of MG development 2. Management & Monitoring (real-time data, decision-making, and performance evaluation) 3. Fault Detection 4. Cyber-Physical Infrastructure Security | A conceptual framework: 1. The microgrid DT framework is built by creating DTs for each segment of the microgrid — renewable energy resources, demand, and communication network. 2. These are then aggregated into a DT aggregate, which allows real-time analysis of changes across the physical sections (physical twins). 3. The framework supports analyses in forecasting, management and monitoring, fault prediction, and security | Smart meters for collecting entity data Machine Learning (ML) / Deep Learning (DL) methods (DNN, RNN, CNN, DBN, LSTM, GRU, Autoencoders, etc.) for forecasting load, wind, PV, and system responses ANGEL framework (real-time two-way communication between physical and digital system to evaluate physical behavior and mitigate cyber-attacks) | Real-time data dependency: require continuous, accurate real-time data. Errors or missing data from measurement devices weaken DT performance Data analysis & computational infrastructure: Current IT infrastructure often cannot handle the large-scale data analysis needed for DT. Advanced GPUs, cloud, and edge computing are required Connectivity: Reliable IoT and 5G connectivity are necessary for real-time monitoring. Cybersecurity risks: vulnerable to physical and cyber-attacks, need secure and real-time detection as well as mitigation to protect critical infrastructure Lack of standardized in DT models: difficult to integrate across microgrid systems or scale beyond a single microgrid
E4 | implicitly characterise microgrid as localized grid comprising both physical power infrastructure and cyber communication networks, integrated with distributed energy resources (DERs), which can be monitored, modeled, and protected through Digital Twin technology | Identify abnormaity and protect microgrid physical attacks (false data injection, denial-of-service, topology attacks) | Architecture (1) Physical Layer (perception + data layer) - Actual microgrid infrastructure: > Generators, DERs (solar, wind, storage), transmission lines, transformers, and loads. > The cyber network of SCADA, IoT devices, and meters. - Provides real-time operational data such as voltages, currents, frequency, and cyber-traffic. (2) Digital Twin Layer (modelling layer) - Real-time (physics-based) simulation engine > Built initially on MATLAB Simulink™ , it runs 5× faster than real time so it can predict “what should happen” and compare "what is happening" - Cyber layer modeling > Detect abnormal data flows, false data injection, denial-of-service, and topology attacks. - Machine learning and data analytics > To detect anomalies and, eventually learn attack/fault patterns. - Parallel state simulation > Runs many possible grid states at once to assess stability and highlight discrepancies. (3) Data Interface & Communication (communication layer) Co-simulation method: uses memory-based data exchange between physical and DT models (prototype). Provides two-way coupling: Data from the physical system → updates DT. Insights from DT → guide/control the physical system. (4) User Interface (application) Developed with MATLAB App Designer + visualization suite. - Provides Grid topology display, Bus/line status and voltage plots, Alerts when discrepancies between physical and DT models are detected. - Allows operators to inspect specific buses or elements. (5) Resilience & Fallback - Fallback to SCADA: incorporates the legacy SCADA system as a backup in case of disruption (cyberattack, failure) - Prevents DT from being a single point of failure | MATLAB Simulink™ SimPowerSystems for real-time simulation MathWorks MATLAB App Designer to develop the GUI for visualization (grid topology, anomalies, bus data) SCADA: real-time data acquisition Wide Area Monitoring (WAM) systems: Supplement SCADA for real-time grid state awareness Parallel computing: Runs many system states concurrently to evaluate discrepancies and predict instability Machine Learning: anomaly detection, pattern recognition, and autonomous decision-making | Dependency on real-time data Needs continuous, accurate, synchronized data; any delays (e.g., denial-of-service attack) make the DT ineffective

## Definition - DER
Paper | DER | Scale & Location | Component | Functions / Capabilities | characteristics | renewable?
1 | This paper provided a number of DER defintions from reputable source. To conclude, Distributed Energy Resources (DERs) are small scale resources or subsystems such as solar photovoltaic, electric vehicles, storage, load or demand response, that are located on the distribution system or behind a customer meter. They operate outside the bulk system and can generate,store or export power to support the main grid. (IEEE, 2018; Distributed energy resources, 2017; FERC, 2020; Innovation landscape for a renewable-powered future, 2019; Jaime et al., 2023) | small scale distribution system/ behind a customer meter | PV, EV, storage, load or demand response | generate,store or export power to support the main grid |  | renewables
2
3 | DER are distributed power units such as photovoltaic, wind turbines, battery storage integrated into microgrid. | distributed power units microgrid integrated | PV, wind turbines, battery storage |  |  | renewables
4 | DER are localised distributed energy source such as renewable generation, storage system and devices. These resources are characterized by randomness, intermittency, and fluctuation | localized distributed energy source | energy generation, storage systems and devices |  | randomness, intermittency, and fluctuation | renewables
5
6 | Distributed generators (DG) are localized power generation units producing renewable energy sources such as PV, wind and fuel cells. They form the primary energy supply for a microgrid and are interfacted to the grid through inverters. | localized; microgrid supply | PV, wind, fuel cells | primary energy supply for microgrid; inverter interfacing |  | renewables
7 | Distributed Generation (DG) refers to electricity production from small-scale generators located close to the point of consumption, often using renewable energy sources. It contrasts with centralised generation by being more efficient in serving local and remote energy needs, as well as reduced network loss and construction time. | small scale located close to the point of consumption |  |  |  | renewables
8
9 | DER are decentralised, small-scale assets such as solar photovoltaic panels, wind turbines, energy storage system, and responsive loads, typically located at the grid edge. They contribute to electricity generation, storage, and demand response | small scale decentralised located at grid edge | solar photovoltaic panels, wind turbines, energy storage system, and responsive loads | electricity generation, storage, and demand response |  | renewables
10 | DER are renewables and other small-scale distributed assets (solar, wind, storage, EVs) operating at the edge of the grid. | small-scale distributed at grid edge | solar, wind, storage, EV |  |  | renewables
11 | DERs are small-scale, often renewable energy resources (solar, wind, biomass) and storage devices located near consumers, providing local generation but include variability due to its intermittent nature | small-scale, near consumer | energy resources (solar, wind, biomass)and storage devices | local generation |  | renewables
12 | DER are decentralised energy assets such as solar PV, wind turbines, stationary batteries and loads connected at the grid edge and is capable of energy generation, storage or demand response. | decentralised at grid edge | energy assets such as solar PV, wind turbines, stationary batteries and loads | energy generation, storage or demand response | variability due to its intermittent nature | renewables
13 | DER are renewable resources such as PV cell, micro wind turbines, energy storage, biomass distributing across the system at distribution level. | distribution level | PV cell, micro wind turbines, energy storage, biomass |  |  | renewables
14 | DER are assets such as controllable consumption devices, on-site generation, and energy storage within a power system located at distribution level. It control automation through IoT but is vulnerable to cyberattack | distribution level | ontrollable consumption devices, on-site generation, storage | control automation through IoT | vulnerable to cyberattack

## Definition - Microgrid
Paper | Microgrid | Integerate DER
1 | Microgrid aggregates local DERs and loads within a defined boundary to form a controllable mini-grid. It can operate independently in island mode or connect with the main grid. It focus on resilience and local energy autonomy | yes
2 | Microgrid are “self-sufficient, localized grids seamlessly integrate diverse distributed energy resources, including renewables, energy storage, and advanced control systems, fostering both resilience and sustainability” | yes
3 | Microgrid is a power system made up of distributed power resources, energy storage systems, loads, monitoring and protection devices, and other equipment, relying on renewable energy. It has bidirectional electricity and informaiton flow, working wither independently or connect to the maingrid. It consist two system: Power system - primary equipment of the traditional power system and various distributed power resources, energy storage devices, controllers Information system - intelligent power management equipment, communication network equipment, etc. | yes
4 | Microgrid is a energy system that integrate DER, energy storage and load , which can be work in an island mode. It has a nonlinear stochastic and multi-scale dynamic due to the characteristic of DER and storage devices. | yes
5 | Microgrid is a localised and small scalre grid connected to wider smart grid, integrate renewable energy generation such as PV. It operate semi-independently to support the stability of the overall system | yes
6 | Microgrid (MG) is a localised, small-scale power system operating at low to medium voltage levels, integrating local distributed generator(DG), energy storage systems, and local loads together to form a small-scale power system. It is considered as the fundamental building bloack of smart grid. | yes
7
8 | Microgrid works as a controll entity of a grid that eliminate the complexity of DER, integrates a number of distributed power grids in a systematic way, work in either island mode or grid-connected. Standalone grid is a type of microgrid that run entirely independent from the main grid. It in unable to connect to a larger power network. | yes
9 | Microgrid is a localised energy system that combines DER to operate either in connection with the main grid or independently. | yes
10
11
12 | Microgrids are small-scale, self-sustaining energy systems operating locally, integrating local generation, storage, and loads. | yes
13 | Microgrid is a local power system where DER operate and can be connected to the grid or islanded. | yes
14
E1 | Microgrids are composite system containing multiple two-way interconnected systems such as Distributed Energy Resources (DERs), Energy Storage Systems (ESSs), flexible loads (as electric vehicles), fixed loads, power electronics converters, transformers, cables, etc. The two way electric flow allow consumers to feed their energy to support local consumption or to the grid, turning them into prosumers. | yes
E2 | IOE "an infrastructure organized as a decentralized network of direct transactional energy, information and economic interaction, functioning on principles that are similar to the global computer network Internet. The Internet of energy infrastructure has the form of a network of cells encapsulating the functions of generation, consumption, and storage of energy resources" | implicitly yes "encapsulating the functions of generation, consumption, and storage of energy resources"
E3 | "The microgrid is a self-reliant energy system described as a set of distributed energy resources and connected loads. The microgrid is a controllable asset relating to the grid that can function in island mode or grid-connected mode" | yes
E4 | implicitly characterise microgrid as localized grid comprising both physical power infrastructure and cyber communication networks, integrated with distributed energy resources (DERs), which can be monitored, modeled, and protected through Digital Twin technology | yes

## Purpose of DT
|  | Grid management and monitoring |  |  |  | Cybersecurity & Regulatory |  | Consumer and Market Focus |  | Environmental & Sustainability
Paper | Purpose of DT | Monitoring and Control | Energy Forecasting, Optimisation, and Efficiency | Fault detection and recovery | Maintenance & Asset Management | Cybersecurity | Market Regulatory Compliance | Peer-to-Peer (P2P) Energy Trading | Customer Profiling and Demand Management | Sustainability and Carbon Management
1 | n/a
2 | Prediction and optimisation of renewable energy sources and storage within building’s electrical and cooling systems for sustainable power control |  | Prediction and optimise of renewable energy usage and storage of building for sustainable power control
3 | Opportunistic maintenance optimization in renewable-based microgrids using risk measures, to reduce costs and improving grid reliability. |  |  |  | Opportunistic maintenance Corrective maintenance
4 | Simulate and optimize entire microgrid system operation in (1) power prediction, (2)optimal operation, (3) prevention and emergency control (stability and security response) , and (4) intelligent maintenance. | prevention and emergency control | (1) power prediction & (2)optimal operation of entire microgrid system |  | intelligent maintenance of entire microgrid system
| Equipment maintenance and lifecycle management of microgrid power equipment |  |  |  | Equipment maintenance and lifecycle management of microgrid power equipment
5
6 | n/a
7 | Increase energy efficiency and prevent energy crisis through smarter consumption patterns. | energy crisis prevention | Increase energy efficiency
8 | Unify consumers and prosumers on a single cloud platform Demand-side management, reducing transmission losses, and minimizing power outages through real-time analysis, optimization, and secure control. | Demand-side management, reducing transmission losses, and minimizing power outages |  | Fault detection and self healing |  |  |  |  | Unify consumers and prosumers on a single cloud platform
9 | Grid reliability improvements Energy storage optimisation Power transformer monitoring Wind farm optimisation Smart grid management Energy management and energy economics Fault (in the converters, sensors & PV panels) diagnosis Security against cyber-attacks |  |  | Fault (in the converters, sensors & PV panels) diagnosis |  | Security against cyber-attacks
10 | Four domain application: (1) Energy Asset Model : - smart city energy management - energy demand management (2) Fault Model - fault (grid component, battery or drivetrains in offshore wind turbines) detection and diagnosis - predictive maintenance - energy service disruption detection and prevention (3) Grid Operation and control - energy resources usage and distribution optimisation (4) Business Model - customer profiling (customer preferences, satisfaction, and behavior) - customer engagement and awareness | Grid operation & control | energy demand management | fault (grid component, battery or drivetrains in offshore wind turbines) detection and diagnosis | predictive maintenance |  |  |  | customer profiling (customer preferences, satisfaction, and behavior) customer engagement and awareness | smart city (urban) energy management
11 | simulate DER adoption in distribution grids to identify risks of overload and congestion to support grid reinforcements planning and DER management | identify risks of overload and congestion
12 | Asset monitoring and predictive maintenance to minimises downtime and extends the lifespan of energy assets Energy forecasting and storge optimisation to enhance grid stability and also reduce energy costs and waste for Carbon Footprint Reduction Real-Time Data and Analytics for Regulatory Compliance monitoring and reporting Wind farm performance optimisation Grid Management and Automation Battery Storage system Integration | Battery Storage system Integration | Energy forecasting and storge optimisation to enhance grid stability and also reduce energy costs Wind farm performance optimisation |  | minimises downtime and extends the lifespan of energy assets |  | Regulatory Compliance monitoring and reporting | Blockchain enable p2p trading |  | Reduce energy waste for Carbon Footprint Reduction
13 | Enhance visibility of DERs in microgrids | Enhance visibility of DERs in microgrids
14 | Reducing energy costs for prosumers from buying power from the market, create new market opportunities for DER operators and improve power supply quality and stability |  | Reducing energy costs for prosumers from buying power from the market | [5 empty] | market opportunities for DER operators
E1 | Cyberattack detection, mitigation, and system recovery |  |  |  |  | Cyberattack detection, mitigation, and system recovery
E2 | Optimize Energy Supply (generation & storage) at the Prosumer/Microgrid Level in terms of economic(cost), electric quality and environmental (carbon emission) |  | Optimize Energy Supply (generation & storage)in terms of economic(cost), | [6 empty] | electric quality and environmental (carbon emission)
E3 | 1. Forecasting (such as load growth prediction, system response forecasting) -> long time planning of MG development 2. Management & Monitoring (real-time data, decision-making, and performance evaluation) 3. Fault Detection 4. Cyber-Physical Infrastructure Security | Management & Monitoring (real-time data, decision-making, and performance evaluation) | Forecasting (such as load growth prediction, system response forecasting) -> long time planning of MG development | Fault Detection |  | Cyber-Physical Infrastructure Security
E4 | Identify abnormaity and protect microgrid physical attacks (false data injection, denial-of-service, topology attacks) |  |  |  |  | Identify abnormaity and protect microgrid physical attacks (false data injection, denial-of-service, topology attacks)

## Framework
Paper | Purpose of DT | Framework | Technology | Concerns | Grid scale | Operation mode | Strengths | Limitations
1 | n/a | n/a | n/a | n/a
2 | Prediction and optimisation of renewable energy sources and storage within building’s electrical and cooling systems for sustainable power control | Model layer: (prediction > optimization > simulation): (1) Deep Learning to predict future load demand (2) energy optimisation using mathematical optimisation solver (3) Digital Twin simulation | Recurrent Neural Networks (RNNs): Long Short-Term Memory (LSTM) for HVAC load prediction | Requires live data streams from a physical microgrid feeding into the DT | Single microgrid (building) | island | Proven high fidelity/accuracy in DT simulation -> Trustworthy mirroring | Use historical data, no live data collection and communication Narrow scope - only on building level Model layer only, other necessary layer (data, application , etc) not discussed
3 | Opportunistic maintenance optimization in renewable-based microgrids using risk measures, to reduce costs and improving grid reliability. | Four-layer architecture: Perception layer (bottom layer): Contain sensors and devices that collect data such as equipment state, environmental data,etc Data layer: Collection, transmission, and storage of collected data; transform collected data into digital twin data Model (core) layer: Provide a mirror model of the physical grid. Use real-time and historical data to run different simulations, and feedback to operation and control commands to guide preventive and targeted operation and maintenance decisions. Application layer: Take the results from the model layer and provide feedback function (such as emergency response, operational optimization,etc) to human actor. -> closed loop feedback | Fault Tree Analysis (FTA) to model failure under model layer | (1) High-dimensional and multi-source data is difficult to process because heterogeneous device, environment and scale (2) Sensor data transmission issue would reduce DT's reliability as the twin depends on live sensor data | Single microgrid | not mentioned, but validation only on island mode | Well structured architecture, cover important layers | framework depends on data transmission but does not specify communication standards or technologies AI was mentioned in background, but not integrated in the framework, use FTA instead. Important evaluation such as latency, network failure not discussed
4 | Overarching DT Microgrid 3-layer architecture (1) physical system (Perception Layer) : manage real word microgrid equipment, use sensors for data collection and transmission (2) information hub (Data + Model Layer) Data layer: process, integrateand store multi source heterogenous data using DBMS and big data technologies System layer (Model Layer): uses real-time + historical data to create digital replicas of equipment and systems, run multi-scale simulations, and feeds operating control commands back to the physical system. (3) application scenario (Application Layer): online application services that use AI and algorithms to close the loop and optimize real-world operation. |  | Big data to process heterogenous data collected Deep Learning for Renewable energy power generation prediction of PV and wind power Real-Time Digital Simulator (RTDS) for microgrid mirroring, it is a simulation system to replicate electromagnetic transient processes in power systems using parallel computing and digital simulation technologies. Communication from sensors: 5G, Beidou satellite, wireless networks, microwave transmission | n/a | Single microgrid | island | Hierarchical module (DER-level & Grid-level) helps manage the local DER issues without cascading and affect the whole microgrid Support multiple applications Continuous update on RTDS parameters to align with physicalstate -> high fidelity Verifies optimisation/control strategies on RTDS simulation system before deployment (risk reduction) | No clear strategy for security or legacy integration Only for single microgrid broader, deployment in larger or interconnected microgrid not considered high fidelity may be costy in computation requirement Increased complexity in dual-module framework Vulnerable to data transmission/ network loss Designed to handle heterogeneous data (environmental and operational data), but no discussion on implementation/ technical details on how data fusion is achieved.
| Simulate and optimize entire microgrid system operation in (1) power prediction, (2)optimal operation, (3) prevention and emergency control (stability and security response) , and (4) intelligent maintenance. | Grid-Level DT (RTDS-based) Modelling framework (1) physical system (Perception layer) : Real world microgrid physical components (DERs, sensors, communication lines) responsible for data acquisition (2) simulation system (model layer): RTDS mirrors the physical grid by taking real time data(including from DER-level DT), and verify optimization/control strategies before they are applied to the actual system. Continuous synchronise with physical grid through UEMS (3) upgraded energy management system (Data layer + application layer): Mediates between physical and digital systems for data monitoring, parameter correction, storage, and advanced applications
| Equipment maintenance and lifecycle management of microgrid power equipment | Equipment Level DT framework: (1) equipment status information acquisition (perception layer + data layer): Using historial data of microsystem and integrate with real time data (including environmental data )to optimise sensor layout (2) model establishment (model layer): Build equipment health and risk evaluation models through empirical testings, and statistical methods such as Random Matrix Theory (3) intelligent operation and maintenance module (application layer): Provides real-time fault warnings, reliability assessments, and maintenance/retirement decisions to support efficient equipment lifecycle management.
5 | Integrating Blockchain in IoT for smart grid monitoring. | (Not DT Microgrid) Conceptual blockchain-integrated smart grid framework: (1) IoT devices are linked with smart grid components (such as renewable energy, load control and distribution management) in IoT Based platform for data collection and monitoring. (2) Big data/ information platform for data records, security and removing 3rd party (3) Blockchain enables P2P energy trading, EV trading, secure energy generation/distribution, improving decentralization, trust, privacy, and resilience. | Blockchain for secure and decentralised data record, allow peer to peer trading and privacy protecction Machine Learning (Q-learning and Random Forest) for abnormal data detection | (1) Heterogeneous Data fusion as data (meter data, grid temperature data, power consumption data, etc) comes in heterogeneous format and need to be unified (2) Grid data Handling as grid data are valuable information sources but require effective processing method (3) Grid data Storage as secure, reliable, and scalable storage are needed for large volumes of smart grid data
6 | n/a | (not DT Microgrid) Microgrid has 3 control schemes: (1) Centralized control: “limited communication capability among the subsystems (Distributed Generators, loads, storage) as well as limited computation ability in one single controller” (2) Decentralized control: too isolated, no interaction between other controllers (3) Distributed control: Author suggests this approach for microgrid | n/a | (1) Limited communication&computation capacity in centralized microgrid -> (Erica's comment) DT could suffer from delayed, incomplete, or inaccurate synchronization. (2) Challenge in seamlessly adapting to newly added or removed DERs without complete reconfiguration -> (Erica's comment) DT may face difficulties in maintaining an up-to-date virtual model, reducing flexibility and scalability.
7 | Increase energy efficiency and prevent energy crisis through smarter consumption patterns. | n/a (This paper capture the relationship between rising energy consumption and energy crisis, as well as the relationship between using digital twin for monitoring and crisis prevention. No framwork for DT is mentioned) | n/a | (1) Data quality and availability: due to complex system and lack of standardisation in data collection and management (2) Integration with legacy systems: most existing infrasuructure is not compaible with digital twin (3) Cybersecurity: cyber attack can cause significant damage, investing in cybersecurity measures is necessary (4) Regulatory compliance: Regulatory compliance, violation cost high penalty (5) High Cost for implementing DT: Building and maintaning DT (infrastructure, data processing) is expensive especially for smaller companies
8 | Unify consumers and prosumers on a single cloud platform Demand-side management, reducing transmission losses, and minimizing power outages through real-time analysis, optimization, and secure control. | Data + Model Layer: (1) Online Analysis Digital Twin (OADT): Uses SCADA + state estimation (SE) for real time data collection and transformation from the physical grid. It mirror the real time physical grid and performs continuous analysis and dynamic security assessment (DSA) to detect anomalies, assess grid health (4) Automatic network guardian for electrical (ANGEL) system: Security + monitoring system using ML/DL, provides self-healing and predictive control Communication Layer: (3) Communication: Communication network management system work as a central data acquisition board, collecting and gathering data in real time. It connects various sensing nodes (via wired/wireless networks) and uses communication protocols to transmit data securely to upper layers of the DT system. Application Layer (2) Cloud Platform: real time whole grid status monitoring and analysis. Allowing both production-side and demand-side energy management, gives each consumer access to their own energy usage data, and supports control center operations for decision-making and fault prevention (5) Existing DT Application Frameworks for grid: Cloud-based Cyber–Physical Systems (C2PS); Building Information Modelling (BIM) + data mining; Security Layer (6) Security Framework: separated into physical, virtual, and decision-making layers and use cloud hubs and control centers to secure critical infrastructures | Machine Learning (ML) on real time data for fault detection and predictive analytics Data Mining in extracting insight from large amount of grid data Communication Protocols:MQTT, OPC, MMS (IEC61850), GOOSE | Data transmission and communication: massive data transmission, high storage overhead cost, high rate of recurrence to maintain accurate mirroring of physical grid Security: prime cyberattack target as DT contains large amount of sensitive and confidential data, could lead to severe consequences (large scale outage or national level economic damage) if breached Data fusion and integration: Challenges in maintaining consistency, accuracy and performance when integrating real-time sensor data, historical records, and various heterogeneous data types in a scalable way. Latency and feedback delay: fast reaction time to support decision making and real time control require handling complex computation and fast data processing | Didn’t mention, but can implicitely devired it's for large-scale interconnected microgrids, as they use scada, and communication protocol is designed for wide area | Didn’t mention, can be derived as grid connected | Comprehensive, Multi-Layered Architecture detailed communication protocol automatic response to fault (self-healing) -> less human intervention cloud to connect consumers, prosumers, and producers on a unified platform OADT consider legacy system (SCADA) | Unclear Data Fusion Strategy or ontology High computational demand increased latency problem Stroage and network stressed by large scale data (historical +realtime +heterogeneous) Edge computing not onsidered, could be processing heavy
9 | Grid reliability improvements Energy storage optimisation Power transformer monitoring Wind farm optimisation Smart grid management Energy management and energy economics Fault (in the converters, sensors & PV panels) diagnosis Security against cyber-attacks | Methodology for different applications, including: (1) Grid reliability improvements: apply Online Analysis Digital Twin (OADT), (2) Power transformer monitoring: apply mirroring and deep learning to analyse real-time data for faults detection and remaining lifespan prediction (3) Smart Grid management: computing and reinforcement learning to optimise demand response and load balancing | ML for predicting dynamic grid behaviour and DER status AR/VR training programs for grid operators workfoorce training Edge computing to handle large data volumes in urban grids Blockchain for blockchained-based authentication for securing energy data flows and protects against cyberattacks in bidirectional energy exchanges | Heterogeneous data integration Interoperability with legacy systems: Tradition grid/system are not designed to support digitalisation in DT. Integrated blockchain with existing system increase costs for upgrade in legacy grid Lack of standardisation in policies, grid codes, and industry guidelines for DT AI require high quality data which could affect prediction accuracy in renewable integration Latency in edge computing: achieveing grid stability need ultra low latency needs |  |  | suuvey paper
10 | Four domain application: (1) Energy Asset Model : - smart city energy management - energy demand management (2) Fault Model - fault (grid component, battery or drivetrains in offshore wind turbines) detection and diagnosis - predictive maintenance - energy service disruption detection and prevention (3) Grid Operation and control - energy resources usage and distribution optimisation (4) Business Model - customer profiling (customer preferences, satisfaction, and behavior) - customer engagement and awareness | General architecture steps (not a DT framework): (1) creation of the DT model: using actual measurements such as such as active or reactive power, frequency, current, energy flexibility from energy assets. (2) Integration of the DT model: with the physical assets using energy sensors and actuators. The IoT sensors will be used to acquire various information regarding the energy assets operation while the actuators (3) data-driven analytic: using big data analytics and ML (4) Optimization and Control: by feeding insights from analytics to model based predictive control | Machine Learning on load forecast, pattern detection, prosumer energy demand/ generation prediction, performance assessment, edge warning detection Blockchain for simulation-based prediction and operational control improvement Neutral Network to analyse power grid behaviour under critical event Big data analytics on customer-related data (preferences, satisfaction, behavior) for awareness and engagement | Data-Related Challenges (1) Data Volume: Efficient storage and analysis in huge amount of data (2) Data Velocity: high speed data generation and transmittion (3) Data Variety: integrating heterogeneous data sources (4) Data Quality: errors and unreliable acquisition processes in DT models. DT for renewable energy sources: (1) Renewables (solar panels, wind turbines) need continuous, independent monitoring to ensure DT accurately reflects their real-time state (2) Time and scale granularity (3) Fluctuations and unpredictability in renewable energy generation (solar depends on sunlight) |  |  | Broad application Mixture of various technologies Solid close loop architecture | Very high level and conceptual Not validated or evaluated Acknowledge data problems but no strategy mentioned Mentions ML, blockchain, AR, semantic web, but only at a surface level, not specific
11 | simulate DER adoption in distribution grids to identify risks of overload and congestion to support grid reinforcements planning and DER management | Agent-Based Simulation (ABS) structured with four modular components (1) Distributed Energy Resources (DERs): model DER (PV, EV and stationary batteries) as agents with behaviours such as generation. This module captures the operation of DER and their connection to the wider system, each DER don’t communicate with each other. (2) Electricity Distribution Grid: stores and processes grid topology (data from DSO spreadsheets*) and models how electricity flows through physical infrastructure (distribution grid transformers, cables, cable boxes, consumer connection points), it build the model, tracks power flows and highlights overloads during simulation. -> (data +model layer) (3) Energy Management System (EMS) : control DER operation in response to predefined strategies. it communicates between consumer needs, DER capabilities, and grid conditions.-> (model + communication layer) (4) Electricity Consumers: represents residential users with their load profile -> (application layer) *the framework currently uses historical datasets and DSO spreadsheets, no live data streamed from physical grid | Agent-Based Simulation (ABS) | Scalability as most DT focus on individual DER component Computational requirement on simulation experiments with long timeframes | Interconnected distribution grids | Only can work in interconnected grid, doesn't work in islanded grid | Agent-Based Simulation (ABS) so that DER, houshold, component are individual agent, support flexible addition and removal of DERs (one of the agent) over time With agent has its own behaviour or rules, it is easiers to explain to management or stakholders rather than mathematics models. framework integration multiple DER (PV, EV, batteries) instead of just one | uses historical data and scenario simulations, no live IoT streams Computationally heavy: 15-year scenarios at 10-minute resolution may require 250–300 GB of memory designed for grid-connected distribution networks only, not islanded microgrids
12 | Asset monitoring and predictive maintenance to minimises downtime and extends the lifespan of energy assets Energy forecasting and storge optimisation to enhance grid stability and also reduce energy costs and waste for Carbon Footprint Reduction Real-Time Data and Analytics for Regulatory Compliance monitoring and reporting Wind farm performance optimisation Grid Management and Automation Battery Storage system Integration | DT framework is discussed conceptually, but not in full detail (1) Digital Twins integrate with Edge Computing: Devices at the grid edge (e.g., smart meters, DERs, IoT) should process data locally using edge computing to meet low-latency and bandwidth constraints in low-voltage networks. (2) Federated DT and integrate with Data Space: multiple DTs for local contexts should interoperate and link with the European Energy Data Space for cross sector integration and data sharing | AI: - to detect pattern from processing huge amount of data for compliance risk prediction - Facilitating Peer-to-Peer Energy Trading by analyse energy consumption data, assess equipment performance, and suggest optimizations. - Analyse data annd predict efficient discharge and charge cycles Edge AI: AI Analytics to Handling vast volume of data from Distributed Energy Systems Blockchain for peer to peer energy trading (automated energy transaction among consumers and prosumers) within decentralised energy system Machine Learning for Predictive Analytics | Performance, scalability, and security of Digital Twin are less mature Lack of Digital Twin deployment framework for smaller operators -> current DT deploment are siloed -> Lack of interoperability standard (behaviour, policy, technical etc) across different DT systems in ferderal level Heterogeneous data integration and synchronisation: DT rely on accurate, real-time data, but ensuring consistency and interoperability across heterogeneous sources is difficult Over-collection and unclear data value: DT risk collecting excessive amounts of data without knowing which data is most useful, leading to inefficiency and higher costs Regulatory in Data privacy and security: data must be protected (GDPR compliance) and used with consent only | Interconnected distribution grids | didnt explicitly discuss whether the DT framework supports islanded mode, it focus heavily on grid-connected scenario | Edge-driven architecture using edge computing -> low latency, real-time data processing at grid edge. Use of AI for forecasting and blockchain for P2P trading | Lack of detailed, layered framework, no reference model showing DT data flow, control logic, etc. Didnt specify how to fuse or process heterogeneous data at the grid edge no explanation real-time synchronisation between physical assets and digital replica
13 | Enhance visibility of DERs in microgrids | This paper is about finding the minimum data reporting rate of live data from DER to ensure DT accuracy. The live data of focus is grid frequency measured by Phasor Measurement Units (PMUs), which is used by the DT to calculate the DER’s active power output. The DT performance is evaluated against three critical Virtual Synchronous Machine (VSM) response parameters: droop power, inertial power, and damping power. It showed that DT accuracy decrease when reporting rate is too low, due to DT discretize continuousgrid frequency signals. This paper suggested applying Zero-Order Hold (ZOH) discretization as it can improves accuracy even at lower reporting rates. It also proposed two methods to estimate the minimum reporting rate for stable and accurate DT: (1) physical-based method (using model knowledge) and (2) data-driven method (for black-box systems) |  | Low reporting rate causes inaccuracy and error in DT performance High cost in installation of high resolution DER measurement units and corresponding communication network Challenge in realtime data exchange between DERs and controllers due to bandwidth and time delay restrictions
14 | Reducing energy costs for prosumers from buying power from the market, create new market opportunities for DER operators and improve power supply quality and stability | The typical power system DT consists of models of the following kinds (Andryushkevich et al, 2019): (1) ontology model (sementic/data layer) Provides the semantic foundation for the DT to ensure data consistency and eliminate ambiguity in the naming and interpretation that the DT operates with (2) digital diagrams and maps (visulaisation/ application layer) Represent the structural and visual aspect of the power system. (3) electronic documentation (data layer) (4) information model (data layer) The central structured database of the DT, store data, parameters, etc and provides information to other models. Maintains coherence between heterogeneous sources. (5) real-time data (perception layer) Collects sensor measurements (6) mathematical and simulation models (model layer) Model and simulation DT by using following models: - “first-principles” physical and/or economical models based on the numerical solution of equations and optimization problems; - statistical models based on machine learning (ML), including neural networks; - expert knowledge and decision-making models, such as rule-based and multi-agent systems. It then suggest adding layers on top of DT to make it accessible to operator, prosumers etc, as an end user digital product, instead of just simulation the physical state. - DT (Core of the platform, integrating heterogeneous model and simulate, predict and optimse DER behaviour) - IoT subsystem (real time data collection from DER), - Intelligent control subsystem (AI/ML decision-making), - Transactive energy subsystem (smart contracts for P2P energy trading), - Monitoring & diagnostics (track the state of DER assets and grid equipment) - electronic document management (EDM) subsystem (Stores and handles documentation relevant to DER operation) - Information security (Protects the DT and platform from cyberattacks) - User interfaces and services (make platform usable by operators, prosumers) | ML for energy load/generation/price forecasting, economic dispatch, power machine health assessment and prediction | High cost for implementation as it requires many heterogeneous models Heterogeneity in models with data complexity : “horizontally” (different asset parts) and “vertically” (different concerns/viewpoints) -> integration is difficult Prompt simulation requirement: the challenge of reproduce complex, multi-step power supply processes quickly enough to stay synchronized with the real system Semantic consistency: requires ontologies to avoid ambiguity in data
E1 | Cyberattack detection, mitigation, and system recovery | 3 layers: (1) Physical Layer: Real-world DC microgrids: DERs, converters, ESS, flexible loads. (2) Edge Control Layer - distributed controllers: balances power within the cluster of microgrids. - tertiary controller: manages whether the whole cluster (contains multiple microgrids) imports or exports power to the main grid (3) Digital Twin Layer - IoT Shadow (device shadow): JSON-based virtual representations of each device’s state (both reported and desired), managed via AWS IoT Core - DT models (mathematics model to simulate) i. Physical Twin: model power dynamics of DC networked microgrids; regulate microgrid voltages and power-sharing. ii. Cyber Twin: Models the distributed consensus control among secondary controllers using graph-based protocols iii. Hybrid Twin: Integrates both physical and cyber models to detect mismatches and assess cyber-physical consistency Application - Luenberger Observer (LO): Estimates healthy system states based on DT models and compares them with IoT shadow data to detect anomalies or potential cyberattacks - AuthAudit (Algorithm 2): Sorts and identifies which agents/sensors are likely under attack by measuring & normalise residuals - DT updates IoT Shadow with corrected desire state from Luenberger Observer results - Edge devices receive correct commend from IoT shadow to recover system |  |  | networked microgrid (Interconnected distribution grids) | grid-connected (no mention whether it works on islanded mode) | Strong focus on cybersecurity Lightweight since they use AWS cloud, no hardware/platform required Cloud DT acts as fallback tertiary controller (If PCC is attacked or compromised, cloud-based DT can temporarily take over as the tertiary controller and restore operation) | grid-connected only (no mention for islanded mode) Relies only on real-time IoT Shadow data; No long-term data storage (persistent database) for historical learning or trend analysis.
E2 | Optimize Energy Supply (generation & storage) at the Prosumer/Microgrid Level in terms of economic(cost), electric quality and environmental (carbon emission) | DT framework consists of 6 components: (1) Ontological Model (Data layer) - Provides the semantic backbone to ensure all data across maps, models, and simulations are consistent. - Defines entities (loads, generators, storage, meters, etc.), their properties, and relationships. - sementic integration to ensure data from meters, models, and optimization tools are consistent, interpretable, and automatically connected - How it works:Maintained using the Nrjpack + CQRS tool, then exports data in OWL (Ontology Web Language). (2) Digital Schemes & Maps (Data layer) - digital diagrams and maps (single-line diagrams, structural maps) contextualize and visualize how components connect (3)Electronic Documentation (Data layer) - Information basis of the DT, stores metadata and formal records about the system. (4) Information Models (Master Data) (Data layer) - The data backbone that stores static information about devices, loads, and configurations. - Populated through the ontology, exported in Ontology Web Language (OWL) for interoperability. (5) Real-Time Data (Perception layer) - Provides dynamic input from smart meters, sensors, or external services (like weather). - Used for calibration, load disaggregation, and feeding real-time scenarios into the modelling layer HOMER Pro. (6)Mathematical & Simulation Models (Modelling + Application Layer) - The computational engine, three main components: (i) optimization (HOMER Pro): Optimizes the configuration of the Hybrid Renewable Energy System (HRES) based on economic, electrical, and environmental criteria. (ii) dynamic simulation (Matlab Simulink): Dynamically simulates the optimized HRES under different load and weather conditions, including interactions with the central grid. (iii) linking scripts (Python/Matlab): Automate the transfer of data between ontology, HOMER Pro, and Simulink (e.g., generating load profiles, re-configuring the Simulink model) - Tests scenarios application such as: HRES operation (optimise and simulate configuration) , load shifting, and grid interactions (buying power when renewable is insufficient, selling excess back) How the framework works: (1) The ontology structures data into OWL/XML format. (2) script processes OWL data to generate hourly consumption profiles for each device before feeding into HOMER Pro. (3) HOMER Pro finds optimal HRES configuration (number of pv panels, battery, etc) → results exported. (4) Scripts automatically configure the Matlab Simulink model based on HOMER results. (5) Simulink dynamically simulates system performance (device profiles, grid interaction). (6) Outputs provide insights for design, operation, and optimization. So, the framework connects information representation (ontology + models) with decision-making (optimization) and validation (simulation). |  |  | Single microgrid | both islanded and grid-connected mode (because the tool HOMER PRO support both) only show results for grid-connected operation of their testbed. | integrates an ontological model (OWL) to ensure all daata is semantically consistent -> interoperable and intepretable Data Layer well-structured & detailed: - four clear subsystems: ontology, schemes/maps, documentation, master data. | Ontology complexity + overhead make it harder to implement -> more complexity need more expertise, while other lightweight DT only need simplier data scheme (json + relational db) communication/ cybersecurity not discussed
E3 | 1. Forecasting (such as load growth prediction, system response forecasting) -> long time planning of MG development 2. Management & Monitoring (real-time data, decision-making, and performance evaluation) 3. Fault Detection 4. Cyber-Physical Infrastructure Security | A conceptual framework: 1. The microgrid DT framework is built by creating DTs for each segment of the microgrid — renewable energy resources, demand, and communication network. 2. These are then aggregated into a DT aggregate, which allows real-time analysis of changes across the physical sections (physical twins). 3. The framework supports analyses in forecasting, management and monitoring, fault prediction, and security |  |  | Single microgrid | both islanded and grid-connected mode
E4 | Identify abnormaity and protect microgrid physical attacks (false data injection, denial-of-service, topology attacks) | Architecture (1) Physical Layer (perception + data layer) - Actual microgrid infrastructure: > Generators, DERs (solar, wind, storage), transmission lines, transformers, and loads. > The cyber network of SCADA, IoT devices, and meters. - Provides real-time operational data such as voltages, currents, frequency, and cyber-traffic. (2) Digital Twin Layer (modelling layer) - Real-time (physics-based) simulation engine > Built initially on MATLAB Simulink™ , it runs 5× faster than real time so it can predict “what should happen” and compare "what is happening" - Cyber layer modeling > Detect abnormal data flows, false data injection, denial-of-service, and topology attacks. - Machine learning and data analytics > To detect anomalies and, eventually learn attack/fault patterns. - Parallel state simulation > Runs many possible grid states at once to assess stability and highlight discrepancies. (3) Data Interface & Communication (communication layer) Co-simulation method: uses memory-based data exchange between physical and DT models (prototype). Provides two-way coupling: Data from the physical system → updates DT. Insights from DT → guide/control the physical system. (4) User Interface (application) Developed with MATLAB App Designer + visualization suite. - Provides Grid topology display, Bus/line status and voltage plots, Alerts when discrepancies between physical and DT models are detected. - Allows operators to inspect specific buses or elements. (5) Resilience & Fallback - Fallback to SCADA: incorporates the legacy SCADA system as a backup in case of disruption (cyberattack, failure) - Prevents DT from being a single point of failure |  |  | Single microgrid | didnt explicitly mentioned. But it rely on Wide Area Monitoring (WAM) system, implicitely towards grid-connected mode. Also mentioned self healing could apply to islanded mode. | Models both physical and cyber layers of the microgrid, allowing it to detect attacks DT simulation runs ~5× faster than real time Fallback mechanism if DT is compromised Provide GUI showing topology, bus voltages, anomalies, etc., helping operators make informed decisions | prototype stage : only uses MATLAB-based co-simulation; HIL integration is still “future work” Potential new attack surface: The DT itself creates another attack surface-> could become a single point of failure if not properly secured Heavy reliance on continuous, accurate, low-latency data streams: vulnerable to delays, loss, or malicious interference (e.g., denial-of-service)

## Technology
Paper | Technology | Simulation/Modelling | ML (prediction & pattern detection) | Data handling | Communication | Security
1 | n/a
2 | Recurrent Neural Networks (RNNs): Long Short-Term Memory (LSTM) for HVAC load prediction |  | Recurrent Neural Networks (RNNs): Long Short-Term Memory (LSTM) for HVAC load prediction
3 | Fault Tree Analysis (FTA) to model failure under model layer | Fault Tree Analysis (FTA) to model failure
4 | Big data techniques to process heterogenous data collected Deep Learning for Renewable energy power generation prediction of PV and wind power Real-Time Digital Simulator (RTDS) for microgrid mirroring, it is a simulation system to replicate electromagnetic transient processes in power systems using parallel computing and digital simulation technologies. Communication from sensors: 5G, Beidou satellite, wireless networks, microwave transmission | Real-Time Digital Simulator (RTDS) for microgrid mirroring | Deep Learning: Prediction of renewable energy power generation (PV and wind power) | Big data techniques to process heterogenous data | transmission: 5G, Beidou satellite, wireless network, self-assembled network and microwave
5 | Blockchain for secure and decentralised data record, allow peer to peer trading and privacy protecction Machine Learning (Q-learning and Random Forest) for abnormal data detection |  | Machine Learning (Q-learning and Random Forest) for abnormal data detection |  |  | Blockchain for data security and peer to peer trading
6 | n/a
7 | n/a
8 | Machine Learning (ML) on real time data for fault detection and predictive analytics Data Mining in extracting insight from large amount of grid data Communication Protocols:MQTT, OPC, MMS (IEC61850), GOOSE OADT for mirroring physical state | OADT for mirroring physical state | Machine Learning (ML) on real time data for fault detection and predictive analytics | Data Mining in extracting insight from large amount of grid data | Communication Protocols: (1) MQTT: Used in the Digital Twin data bus to gather data into the cloud platform (2) OPC: Large-scale data transfer from physical grid sensors to SCADA (3) MMS (IEC61850): Real-time data transmission from SCADA/measuring nodes to the grid's control units (4) GOOSE: data transfer from the physical body to SCADA with high security in high critical communication
9 | ML for predicting dynamic grid behaviour and DER status AR/VR training programs for grid operators workfoorce training Edge computing to handle large data volumes in urban grids Blockchain for blockchained-based authentication for securing energy data flows and protects against cyberattacks in bidirectional energy exchanges |  | ML for dynamic grid behaviour and DER status prediction |  |  | Blockchain for authentication and securing bidirectional energy data flows
10 | Machine Learning on load forecast, pattern detection, prosumer energy demand/ generation prediction, performance assessment, edge warning detection Blockchain for simulation-based prediction and operational control improvement Neutral Network to analyse power grid behaviour under critical event Big data analytics on customer-related data (preferences, satisfaction, behavior) for awareness and engagement |  | Machine Learning on load forecast, pattern detection, prosumer energy demand/ generation prediction, performance assessment, edge warning detection |  |  | Blockchain for simulation-based prediction and operational control improvement
11 | Agent-Based Simulation (ABS) | Agent-Based Simulation (ABS)
12 | AI: - to detect pattern from processing huge amount of data for compliance risk prediction - Facilitating Peer-to-Peer Energy Trading by analyse energy consumption data, assess equipment performance, and suggest optimizations. - Analyse data annd predict efficient discharge and charge cycles Edge AI: AI Analytics to Handling vast volume of data from Distributed Energy Systems Blockchain for peer to peer energy trading (automated energy transaction among consumers and prosumers) within decentralised energy system Machine Learning for Predictive Analytics |  | AI for pattern detection and optimisation | Edge AI: AI Analytics to Handling vast volume of data |  | Blockchain for peer to peer energy trading (automated energy transaction among consumers and prosumers)
13
14 | ML for energy load/generation/price forecasting, economic dispatch, power machine health assessment and prediction |  | ML for energy load/generation/price forecasting, economic dispatch, power machine health assessment and prediction
E1 | Cloud Platform (AWS) to host the Digital Twin layer: - IoT Shadow (AWS IoT Core): real-time digital replicas of device states - AWS SageMaker to Hosts and runs the Digital Twin models (physical, cyber, hybrid), what-if simulations and LO - Serverless computing (AWS Lambda) to execute security audits (Authaudit) Communication: - Data Distribution Service (DDS) - fast communication between edge controllers (within microgrid clusters) - MQTT - low-latency communication between edge devices and the cloud (IoT Core) IoT devices | Cloud Computing Platform AWS |  |  | - Data Distribution Service (DDS) - fast communication between edge controllers (within microgrid clusters) - MQTT - low-latency communication between edge devices and the cloud (IoT Core)
E2 | Authors build a custom-built DT infomation management tool : - Is based on Nrjpack (metamodel product). - Uses CQRS architecture (to separate queries/commands). - Exports ontology-based information in OWL/XML for integration with optimization and simulation models Technologies: Ontological Modeling Language (OWL) - for sementic consistency and interoperability Nrjpack-based Software Tool' - custom tool to maintain information models and digital twin components. Built on a metamodel, enabling automatic generation of user interfaces, databases, and data export Command Query Responsibility Segregation (CQRS) architecture - Applied in the software tool to separate queries (reads) and commands (updates). Improves flexibility and scalability of DT data management HOMER PRO - commercial software product for optimization of hybrid renewable energy systems (HRES) Matlab Simulink - Simulates the microgrid/ HERS’s operation under different load and weather scenarios Python & Matlab Scripts - process OWL/XML data (from ontology) → generate load profiles → feed into HOMER Pro → adjust Simulink model automatically | HOMER PRO - commercial software product for optimization of hybrid renewable energy systems (HRES) Matlab Simulink - Simulates the microgrid/ HERS’s operation under different load and weather scenarios Python & Matlab Scripts - process OWL/XML data (from ontology) → generate load profiles → feed into HOMER Pro → adjust Simulink model automatically |  | Authors build a custom-built DT infomation management tool : - Is based on Nrjpack (metamodel product). - Uses CQRS architecture (to separate queries/commands). - Exports ontology-based information in OWL/XML for integration with optimization and simulation models Technologies: Ontological Modeling Language (OWL) - for sementic consistency and interoperability Nrjpack-based Software Tool' - custom tool to maintain information models and digital twin components. Built on a metamodel, enabling automatic generation of user interfaces, databases, and data export Command Query Responsibility Segregation (CQRS) architecture - Applied in the software tool to separate queries (reads) and commands (updates). Improves flexibility and scalability of DT data management
E3 | Smart meters for collecting entity data Machine Learning (ML) / Deep Learning (DL) methods (DNN, RNN, CNN, DBN, LSTM, GRU, Autoencoders, etc.) for forecasting load, wind, PV, and system responses ANGEL framework (real-time two-way communication between physical and digital system to evaluate physical behavior and mitigate cyber-attacks) |  | Machine Learning (ML) / Deep Learning (DL) methods (DNN, RNN, CNN, DBN, LSTM, GRU, Autoencoders, etc.) for forecasting load, wind, PV, and system responses | Smart meters for collecting entity data |  | ANGEL framework (real-time two-way communication between physical and digital system to evaluate physical behavior and mitigate cyber-attacks)
E4 | MATLAB Simulink™ SimPowerSystems for real-time simulation MathWorks MATLAB App Designer to develop the GUI for visualization (grid topology, anomalies, bus data) SCADA: real-time data acquisition Wide Area Monitoring (WAM) systems: Supplement SCADA for real-time grid state awareness Parallel computing: Runs many system states concurrently to evaluate discrepancies and predict instability Machine Learning: anomaly detection, pattern recognition, and autonomous decision-making | MATLAB Simulink™ SimPowerSystems for real-time simulation MathWorks MATLAB App Designer to develop the GUI for visualization (grid topology, anomalies, bus data) | Machine Learning: anomaly detection, pattern recognition, and autonomous decision-making | SCADA: real-time data acquisition Wide Area Monitoring (WAM) systems: Supplement SCADA for real-time grid state awareness

## Concerns
Paper | Concerns | Data related | Interoperability | Communication & Latency | Scalability & Performance | Reliability | DER-Specific Issues | Security & Privacy | Cost
1 | n/a
2 | Requires live data streams from a physical microgrid feeding into the DT |  |  | Requires live data streams from a physical microgrid feeding into the DT
3 | (1) High-dimensional and multi-source data is difficult to process because heterogeneous device, environment and scale (2) Sensor data transmission issue would reduce DT's reliability as the twin depends on live sensor data | High-dimensional and multi-source data processing |  | Sensor data transmission issue due to its dependency to live sensor data
4 | n/a
5 | (1) Heterogeneous Data fusion as data (meter data, grid temperature data, power consumption data, etc) comes in heterogeneous format and need to be unified (2) Grid data Handling as grid data are valuable information sources but require effective processing method (3) Grid data Storage as secure, reliable, and scalable storage are needed for large volumes of smart grid data | Heterogeneous Data fusion and processing as data (meter data, grid temperature data, power consumption data, etc) comes in heterogeneous format and need to be unified Data Storage as secure, reliable, and scalable storage are needed for large volumes of data
6 | (1) Limited communication&computation capacity in centralized microgrid could make DT suffer from delayed, incomplete, or inaccurate synchronization. (2) Challenge in seamlessly adapting to newly added or removed DERs without complete reconfiguration -> (Erica's comment) DT may face difficulties in maintaining an up-to-date virtual model, reducing flexibility and scalability. |  |  | Limited communication&computation capacity in centralized microgrid -> DT could suffer from delayed, incomplete, or inaccurate synchronization. | Challenge in adapting to newly added or removed DERs without complete reconfiguration
7 | (1) Data quality and availability: due to complex system and lack of standardisation in data collection and management (2) Integration with legacy systems: most existing infrasuructure is not compaible with digital twin (3) Cybersecurity: cyber attack can cause significant damage, investing in cybersecurity measures is necessary (4) Regulatory compliance: Regulatory compliance, violation cost high penalty (5) High Cost for implementing DT: Building and maintaning DT (infrastructure, data processing) is expensive especially for smaller companies | Data quality and availability: due to complex system and lack of standardisation in data collection and management | Integration with legacy systems: most existing infrasuructure is not compaible with digital twin |  |  |  |  | Cybersecurity: cyber attack can cause significant damage, investing in cybersecurity measures is necessary | High Cost for implementing DT: Building and maintaning DT (infrastructure, data processing) is expensive especially for smaller companies
8 | Data transmission and communication: massive data transmission, high storage overhead cost, high rate of recurrence to maintain accurate mirroring of physical grid Security: prime cyberattack target as DT contains large amount of sensitive and confidential data, could lead to severe consequences (large scale outage or national level economic damage) if breached Data fusion and integration: Challenges in maintaining consistency, accuracy and performance when integrating real-time sensor data, historical records, and various heterogeneous data types in a scalable way. Latency and feedback delay: fast reaction time to support decision making and real time control require handling complex computation and fast data processing | Data transmission and communication: massive data transmission, high rate of recurrence to maintain accurate mirroring of physical grid Data fusion and integration: Challenges in maintaining consistency, accuracy and performance when integrating real-time sensor data, historical records, and various heterogeneous data types in a scalable way. |  | Latency and feedback delay: fast reaction time to support decision making and real time control require handling complex computation and fast data processing |  |  |  | Security: prime cyberattack target as DT contains large amount of sensitive and confidential data, could lead to severe consequences (large scale outage or national level economic damage) if breached | high storage overhead cost
9 | Heterogeneous data integration Interoperability with legacy systems: Tradition grid/system are not designed to support digitalisation in DT. Integrated blockchain with existing system increase costs for upgrade in legacy grid Lack of standardisation in policies, grid codes, and industry guidelines for DT AI require high quality data which could affect prediction accuracy in renewable integration Latency in edge computing: achieveing grid stability need ultra low latency needs | Heterogeneous data integration AI require high quality data which could affect prediction accuracy in renewable integration |  | Latency in edge computing: achieveing grid stability need ultra low latency needs |  |  |  | Integrated blockchain with existing system increase costs for upgrade in legacy grid
10 | Data-Related Challenges (1) Data Volume: Efficient storage and analysis in huge amount of data (2) Data Velocity: high speed data generation and transmittion (3) Data Variety: integrating heterogeneous data sources (4) Data Quality: errors and unreliable acquisition processes in DT models. DT for renewable energy sources: (1) Renewables (solar panels, wind turbines) need continuous, independent monitoring to ensure DT accurately reflects their real-time state (2) Time and scale granularity (3) Fluctuations and unpredictability in renewable energy generation (solar depends on sunlight) | Data-Related Challenges (4vs in big data) (1) Data Volume: Efficient storage and analysis in huge amount of data (2) Data Velocity: high speed data generation and transmittion (3) Data Variety: integrating heterogeneous data sources (4) Data Quality: errors and unreliable acquisition processes in DT models. |  |  |  |  | DT for renewable energy sources: (1) Renewables (solar panels, wind turbines) need continuous, independent monitoring to ensure DT accurately reflects their real-time state (2) Time and scale granularity (3) Fluctuations and unpredictability in renewable energy generation (solar depends on sunlight)
11 | Scalability as most DT focus on individual DER component Computational requirement on simulation experiments with long timeframes |  |  |  | Scalability as most DT focus on individual DER component Computational requirement on simulation experiments with long timeframes
12 | Performance, scalability, and security of Digital Twin are less mature Lack of Digital Twin deployment framework for smaller operators -> current DT deploment are siloed -> Lack of interoperability standard (behaviour, policy, technical etc) across different DT systems in ferderal level Heterogeneous data integration and synchronisation: DT rely on accurate, real-time data, but ensuring consistency and interoperability across heterogeneous sources is difficult Over-collection and unclear data value: DT risk collecting excessive amounts of data without knowing which data is most useful, leading to inefficiency and higher costs Regulatory in Data privacy and security: data must be protected (GDPR compliance) and used with consent only | Heterogeneous data integration and synchronisation: DT rely on accurate, real-time data, but ensuring consistency and interoperability across heterogeneous sources is difficult Over-collection and unclear data value: DT risk collecting excessive amounts of data without knowing which data is most useful, leading to inefficiency and higher costs | [5 empty] | Regulatory in Data privacy and security: data must be protected (GDPR compliance) and used with consent only
13 | Low reporting rate causes inaccuracy and error in DT performance High cost in installation of high resolution DER measurement units and corresponding communication network Challenge in realtime data exchange between DERs and controllers due to bandwidth and time delay restrictions |  |  | Challenge in realtime data exchange between DERs and controllers due to bandwidth and time delay restrictions |  |  |  |  | High cost in installation of high resolution DER measurement units and corresponding communication network
14 | High cost for implementation as it requires many heterogeneous models Heterogeneity in models with data complexity : “horizontally” (different asset parts) and “vertically” (different concerns/viewpoints) -> integration is difficult Prompt simulation requirement: the challenge of reproduce complex, multi-step power supply processes quickly enough to stay synchronized with the real system Semantic consistency: requires ontologies to avoid ambiguity in data | Heterogeneity in models with data complexity : “horizontally” (different asset parts) and “vertically” (different concerns/viewpoints) -> integration is difficult |  | Semantic consistency: requires ontologies to avoid ambiguity in data | Prompt simulation requirement: the challenge of reproduce complex, multi-step power supply processes quickly enough to stay synchronized with the real system |  |  |  | High cost in DT microgrid implementation as it requires many heterogeneous models
E1 | Short communication delay between edge and cloud can affect DT's ability to maintain system stability Mathematical models such as LO need careful tuning, otherwise may miss attacks or create false alarm |  |  | Short communication delay (edge to cloud) can affect DT's ability to maintain system stability |  | Mathematical models such as LO need careful tuning, otherwise may miss attacks or create false alarm
E2 | Lack of standardized, reliable, machine-readable data. Existing models focus on large facilities, not prosumer/microgrids. | Sementic consistency : Lack of standardized, reliable, machine-readable data. |  |  | Existing studies focus on large facilities, not prosumer/microgrids.
E3 | Real-time data dependency: require continuous, accurate real-time data. Errors or missing data from measurement devices weaken DT performance Data analysis & computational infrastructure: Current IT infrastructure often cannot handle the large-scale data analysis needed for DT. Advanced GPUs, cloud, and edge computing are required Connectivity: Reliable IoT and 5G connectivity are necessary for real-time monitoring. Cybersecurity risks: vulnerable to physical and cyber-attacks, need secure and real-time detection as well as mitigation to protect critical infrastructure Lack of standardized in DT models: difficult to integrate across microgrid systems or scale beyond a single microgrid | Real-time data dependency: require continuous, accurate real-time data. Errors or missing data from measurement devices weaken DT performance Data analysis & computational infrastructure: Current IT infrastructure often cannot handle the large-scale data analysis needed for DT. Advanced GPUs, cloud, and edge computing are required | Lack of standardized in DT models: difficult to integrate across microgrid systems or scale beyond a single microgrid | Connectivity: Reliable IoT and 5G connectivity are necessary for real-time monitoring. |  |  |  | Cybersecurity risks: vulnerable to physical and cyber-attacks, need secure and real-time detection as well as mitigation to protect critical infrastructure
E4 | Dependency on real-time data: Need continuous, accurate, synchronized data; any delays (e.g., denial-of-service attack) make the DT ineffective | Dependency on real-time data: Need continuous, accurate, synchronized data; any delays (e.g., denial-of-service attack) make the DT ineffective

## Requirements
Perspective | Findings | Intepretation | Requirements | Source
Definition | All paper mentioned DER made up of microgrid. | Microgrid could not operate without DER | DT microgrid must contain the physcial asset of DER | all
Technology | AI/ML widely used for prediction, forecasting, fault detection | DT must support intelligent analytics for grid behaviour or anomaly detection | Should be able to integrate AI/ML to support all forecasting and prediction, pattern (fault) detection or analysis | [2,4,5,8,9,10,12,14]
Technology | Simulation tools (such as RTDS, ABS, FTA, OADT) are used to mirror physical systems | Simulation is necessary to build a digital replica | The DT should simulate real-time and historical operating scenarios of the microgrid -> mirroring | [4,3,14]
Technology | Blockchain is used for secure data recording, authentication and peer-to-peer trading | Necessary to ensure secure data transfer and authentication as peer-to-peer trading is getting more common | Use blockchain-based mechanisms for secure data transaction and authentication. | [5,9,10,12]
Technology/ Concerns | Heterogeneous data souce and format are widely mentioned as a concern, but only one paper [4] suggest big data techniques to handle heterogeneous data | DT must handle diverse data streams from multiple DERs sensors ans systems | Support big data infrastructure to process heterogeneous data formats and sources efficiently | [4]
Concerns | Most papers highlight issues with heterogeneous data integration, fusion, and processing in managing large and complex data with different formats and speeds. The '4Vs' (volume, velocity, variety, veracity/quality) are emphasised | If data comes in different shapes, speeds, and quality, the DT can become unreliable or inconsistent. | Shall support common data formats, varying data speeds | heterogeneous data[3, 5, 8, 9, 10, 12, 14] 4vs [7,10,12]
|  | DT in microgrid usually comes with large amount of grid data, systems data, etc. This would requrie requires advanced processing methods | Support data Mining or AI analytics to extract insights from large volumes of data. | [8,12]
Concerns | Digital Twins in energy systems struggle with latency and communication issues, as they rely on live data, limited resources, and massive data flows. This issue could eventually affect real-time synchronization and grid stability | DT must minimise latency to maintain accurate mirroring | Low-latency communication and/or distributed edge processing should be used to minimise delays | latency issue [2, 3, 6, 8, 9] edge [12, E1, E3]
Concerns | Real-time DT require heavy computational loads for complex simulations | High computing demand can slow down DT synchronisation | Scalable computing ability (such as cloud or distributed computing) should be present to meet increasing workload | [11, 14]
Concerns | Most DTs are not compatible with legacy infrastructure, and there are challenges in adapting to newly added or removed DERs without a complete reconfiguration | Legacy systems limit DT adoption in microgrid, as well as flexibility in grid expansion | Ensure compatibility with legacy infrastructure and protocols (e.g., SCADA). | [6, 7]
support incremental DER integration/ removal
Concerns | DTs are considered a prime cyberattack target due to sensitive grid and consumer data | DT are vulnerable to cyberattack and could lead to serious consequences | Apply strong cybersecurity measures (encryption, authentication, access control). | [7,8]
Concerns | Semantic consistency: requires ontologies to avoid ambiguity in data | DT obtained data from sifferent systems, Inconsistent definitions and semantics may lead to errors or misinterpretation | Adopt standard ontologies to ensure consistent interpretation of data across all subsystems | [14]
Framework | Frameworks architecture varies, some are comprehensive, yet some only focus on certain layer (such as modelling). Most of the content they mentioned can be categories into the following layers: perception, data, modelling, application | no standard architecture, key layers like data or application are sometime not included | The DT should provide services organised into five functional layers (perception, data, communication, modelling, application), each supporting distinct capabilities | [2,3,4,8,10,11,12]
Framework | Most framework rely on live or historic data, but didn’t specify the communication protocols or how latency is managed. | Communication layer is important yet underdeveloped | The DT shall exchange real-time data between physical assets and virtual models through a dedicated communication layer. | [2,3,4]
Select appropriate communication protocol or technologies to ensure acceptable level of latency
Framework | Integration data from different sources has been mentioned, but no framework clearly discuss what is the strategy in handling data source and format | Interoperability of heterogeneous data sources is a continuous issue and not addressed | include a semantic data integration strategy to fuse heterogeneous data from various sources. | all
unify and manage heterogeneous data streams effectively for consistent analysis.
Framework | Framework differ in operation mode, some are designed and validated for islanded microgrid, while others are targert heavily interconnected distribute grid | A flexible DT framework is needed to adapt across different deployment contexts, both standalone microgrids or interconnected grids. | Support islanded or grid-connected mode | Single microgrid in island mode[2,3,4] Large grid connected[8,11,12]
Framework | During a cyberattack on the tertiary controller (e.g., PCC), the system may lose its coordination ability, risking instability. The proposed DT allows the cloud to temporarily take over. | A fallback control mechanism is needed to maintain stable grid operation when the primary tertiary controller is compromised | include a fallback tertiary control function to maintain system operation during controller downtime or compromise | E1
Framework | Detect false data injection and denial-of-service (DoS) attacks using mathematics model | DT must actively detect and respond to both simple and complex cyberattacks to ensure system resilience. | Should monitor system activity and actively detect/respond to unauthorized access or cyber-attacks | E1
Framework | Raspberry Pi edge agents, DDS communication, and cloud IoT Shadows show a modular, plug-and-play design. | The system is designed to easily support more agents or hardware types as the microgrid grows. | support modular scalability, allowing easy integration of new or different edge controllers. | E1
Framework | The need for standardized, reliable, machine-readable data (E2 achieved through OWL ontology). | Without standardized data, DTs cannot ensure semantic consistency across heterogeneous systems, which limits interoperability. | should include a semantic information model (ontology) to define entities, their properties, and relationships, so that consistency across all data and models is ensured | E2
Framework | The framework produces outputs for decision-making (cost-benefit insights, energy flows, performance metrics) | DTs is not just to mirror reality, but help better planning and operational decisions | should provide actionable insights (KPIs, scenarios, state charts) to assist in planning, design, and operation | E2
Concerns | existing models (e.g., Common Information Model) are designed for large facilities and are not well suited for prosumer/microgrid systems. | Existing studies are either design for either single microgrid or interconnected grid. A DT framework applicable for both is rarely discussed | Should be flexible and applicable to both large-scale utilities and small-scale microgrids | E2